## Slide 1: Storage Architecture
Hardware
host
host
storage array
NFVI
VNF/VNFC
distributed storage
VIM
switch
switch
block, file, object
block, file, object
storage service component
file, (object)
Ctrl1
Crtl2

## Slide 2: Storage HA – Network Failure
host
host
storage array
distributed storage
VIM
switch
switch
block, file, object
block, file, object
Ctrl1
Crtl2
Storage network link fails
Storage network detects failure
Storage network switches to standby link(s)
  iSCSI multi-pathing
  bonding
  Report failure to O&M

## Slide 3: Storage HA – Failure in Storage Array
host
host
storage array
distributed storage
VIM
switch
switch
block, file, object
block, file, object
Ctrl1
Crtl2
Component within storage array fails
Array-internal fail-over kicks in
  RAID
  Redundant controllers, NICs, …
Report failure to O&M

## Slide 4: Storage HA – Host Failure
host
host
storage array
distributed storage
VIM
switch
switch
block, file, object
block, file, object
Ctrl1
Crtl2
Storage host fails
Distributed storage layer detects failure
Distributed storage layer rebalances data

## Slide 5: Non-HA Block Storage (legacy)
NFVI
Mirroring of block devices on VNF level
VNF
VNFC
(active)
VNFC
(passive)
mirroring

## Slide 6: HA Block Storage
Active/passive configuration
  Failover supervised by clustering software in VNF
  Requires multi-attach capability of Cinder
NFVI
VNF
VNFC
(active)
VNFC
(standby)
VNFC
(active)
VNFM
VIM

## Slide 7: HA Block Storage
Active/active configuration
  Clustered file system enables concurrent access
  Requires multi-attach capability of Cinder
NFVI
VNF
VNFC
(active)
VNFC
(active)
VNFM
VIM

## Slide 8: VNF level HA for Multiple Backends
Block devices provided by multiple backends
  Mirroring of block devices on VNF level
  Pro-active failover possible
NFVI
VNF
VNFC
(active)
VNFC
(passive)
mirroring
VNFM
VIM
backend 1
backend 2

## Slide 9: Open Questions
Can NFVI storage system provide sufficient level of HA to meet SAL levels?
  Failover/recovery times heavily depend on deployed solution
How much does rebuild of data impact performance?

## Slide 10: File Storage
Legacy deployments
  File storage service provided by VNFC
  Layered on top of block storage services
NFVI
  File storage service provided by NFVI / hardware
  Openstack Manila

## Slide 11: Ephemeral Storage
Ephemeral Storage
  Main use: File systems of VMs booted from image
  Location
    On local disks of compute host
      Isolation of failover domains
        VM unaffected by failure of storage system
      Disk failure corresponds to host failure
      Limits live migration capabilities
    On distributed or external storage
      Correlated failures possible
        Failure of storage backend impacts VMs
      Properties of respective storage backend apply