## Slide 1: Qtip
Project description
June 2015

## Slide 2: What is Qtip?
Qtip is a performance benchmark suite for NFV
The design of Qtip follows a few simple principles
  Follow a White Box approach – the goal is to answer quantitative questions, not validating interfaces
  We put priority in the composition of test suite that capture the most important performance metrics for NFV – by selecting a suite of open source software that best represent NFV workloads
  Bottom up – we start from bare metal and physical components
  Comparative – many functions in NFV can be realized with multiple ways. Qtip runs the same suite on these choices and help shed light on performance questions.
Deliverables
  The Qtip benchmark suite – which will evolve over iterations
  Necessary integration work to CI, common test framework/format etc.
  Necessary integration of testing load generation/measurement tools
  Necessary integration of orchestration/configuration/run tools
  Documentation: test suite, benchmark result data/report
References
  GS NFV-PER 001
  IETF RFC 2544

## Slide 3: Qtip performance benchmarking reference
Network
Servers
Networked Storage
Local storage
virtualization
VNFC UT 1
VNFC UT N
vTester 1
vTesterN
Tester 1
Tester N
virtualization
Qtip console
Remote hosts
Performance characterization
Bottom-up – white box
Reuse framework/tools upstream/other projects
Configuration automation or glue using Ansible/python
Supports software + optional hardware tools,
Supports open source + optional commercial tools

## Slide 4: Qtip components
Qtip console: a simple VM/host that hosts Ansible/Python and Qtip test tools/confs
Baremetal configuration: (pre-installation state)
  Bios
  Host OS
Use OPNFV install – BGS/Genesis/CI
Orchestration: Heat template for test configuration
Post-Heat-orchestration test configuration & run: Ansible/Python
Post-run data collection and post processing (use common test tools)
Post-run cleanup
Optionally - potential other framework integration
Documentation
  Test Suite
  Test results

## Slide 5: Test tools (load generating & measuring)
Open source tools
  Reuse and integrate: open source networking, computing, storage benchmark tools
  Pktgen
Hardware test equipment
  Spirent, IXIA
  Use existing configuration tools and wrap it in Ansible/Python
  Networked, or direct
Software commercial testers
  Spirent, IXIA
  Use existing configuration tools and wrap it in Ansible/Python
Traffic profiles
  E.g. IETF
  E.g. sample profiles from at&t/china mobile/cablelabs

## Slide 6: Representative NFVC set in the Qtip Suite
A select set is used to represent common components (as in NFVC)
  E.g. L2, L3, L4-7/HTTP, SSL, DPI, media encoding/decoding, signal processing …
  E.g. storage: read/write, iops, file, DB, noSQL, big data…
These NFVCs are used to exercise/stress targeted components in an OPNFV infrastructure
Select existing open source NFVCs: Simple, well known, easy to understand, open source

## Slide 7: Benchmark Examples in Qtip Suite

## Slide 8: A Subset of Phoronix
Phrononix is an open source benchmark suite that contains many tests to conduct CPU, Memory and Storage benchmark tests. http://www.phoronix-test-suite.com/. A subset of these can be used to benchmark NFVI systems
While routing packets, there is a need to looks up destination IPs in an IP lookup table for matching. CPU is greatly utilized in such a task. This makes CPU benchmarks important metrics for evaluating performance of NFVI systems
Byte-Unix bench provides computing benchmark through arithmetic integer and floating point tests such as Dhrystone
Cyclic Redundancy check to check CPU performance
Cachebench for cache read, write bandwidth benchmark
NFV applications such as packet forwarding and routing are memory R/W intensive. This makes it important to analyze NFVI memory performance: Stream for memory read and write bandwidth benchmark
Storage I/O and R/w performance is critical for VNF nodes that involve storage usage such as content delivery cache nodes or IMS.
Dd/ IOZONE for Disk IO read and write benchmark

## Slide 9: Packet Flow
Provide Throughput, Latency and frame loss to evaluate Data Plane performance
Use RFC 2544 as a reference for benchmarking interconnected devices
Pktgen / IXIA/Spirent Test center to generate and receive L2/ L3 packets
These benchmarks can be used for different Network SUT configurations (Uni-directional, Loopback, L2 Forward, L3 Forward)

## Slide 10: SSL
Encryption and tunneling of traffic is common for VNF applications
To support VNF encryption applications, the NFVI system should provide the necessary CPU computing resources
OpenSSL speed can be used to benchmark encryption throughput, helping to evaluate the performance for the computing resources provided by the NFVI system.
Measure:
1. The number of RSA signatures a machine can handle
2. Crypto algorithm performance

## Slide 11: DPI
DPI engines are CPU and memory intensive operations. DPI benchmarks can provide an insight on the CPU and Memory resources available to a DPI VNF.
nDPI, is an Open source DPI engine library. nDPI reader can identify traffic at the application layer and provide detection throughput for the nDPI engine.
The Application layer protocols that can be detected by nDPI can be extended using the libraries provided by nDPI. However nDPI doesn’t provide multi-thread support
HyperScan is a Commercial DPI library that can fully utilize multiprocessor support

## Slide 12: Q&A